## Slide 1: industriële warmtepompen
Steven Lecompte

## Slide 3: Renewable heating options
Electrical boilers
E-fuels
Heat pumps
Biofuels
Solar energy and thermal storage
Hydrogen
Heat transformers
< 200°C & > 200°C
< 200°C
Heat recuperation

## Slide 4: Heat pumps
COP = 2
COP = 1/2
COP = 4
Type 1
Type 2, warmteomvormer
Dampcompressie

## Slide 5: Heat pumps = upgrading heat
Heat pump technologie
Marina et al. (2021)
Waste heat temperature (°C)
0 20 40 60 80 100 120 140 160 180 200
Demand heat temperature (°C)
0 20 40 60 80 100 120 140 160 180 200
Cumulative Process heat
(PJ\a)
1200
1200
0
0
Cumulative Process heat
(PJ\a)
Notes: Uitleggen dat lucht niet echt altijd een optie is door te hoge deltaT.

## Slide 6: Heat pump integration
PINCH ANALYSIS

## Slide 7: Coefficient of performance (COP)
Theoretical maximum COP:
Carnot cycle:
Lorentz cycle:

## Slide 8: Max. Coefficient of performance
Illustration of Carnot COP
High-temperature heat pumps: higher theoretical COPs (considering the same temperature lift)
High temperature heat pumps however often have higher lifts.
   In practice lower COPs
Typical heat pump COP < 0.5 COPc
Temperatures in Kelvin!

## Slide 9: In practice

## Slide 10: High T
Atlas Copco
Mechanical vapour recompression (MVR)

## Slide 11: Versus Large ΔT
Vapour compression heat pump + MVR

## Slide 12: Trends (T) 2021-2023 & 2023-2025

## Slide 13: Refrigerants (T)

## Slide 14: Refrigerants historical overview
1830
1930
1950
2010
1990
…
Nieuwe EU F-gas
Kyoto protocol (1997)
Montreal protocol (1987)
2024
1ste EU F-gas regelgeving (2006)
CO2, NH3, SO2, etc.e
HC, NH3, etc.e
CFC, HCFC, etc.e
HFC, etc.e
HFO, etc.e
CO2, NH3, HC
HC: Hydorcarbons
CFK: Chlorofluorocarbons
HCFK: Hydrochlorofluorocarbons
HFC: Hydrofluorocarbon
HFO: Hydrofluoroolefin

## Slide 15: Cost (T)

## Slide 16: Availability
T [°C]
Q [MW]
100
120
140
160
180
200
1
2
3
4
5
6
7
8
0
Rank
Sustainable process heat
Heaten
Dampcompressie
TRL 6+
> 1MW
< 8MW
Tsupply >=140 °C
Ago Caldora
Aneo industry
10
Heat Lift
280
15
Spilling
100
Epcon
Turboden
212
30
70
Piller
250
Enerin
Futraheat

## Slide 17: Synergy with thermal energy storage
Three main synergies:
Smaller/better sizing of heat pump
Can optimally handle dynamic energy prices:
  Low electricity prices: Charge storage
  High electricity prices: Discharge storage
More continuous operation of heat pump
HP
TES
Process
El.
Heat
Heat
Charge storage
Discharge storage

## Slide 18: Synergies with electric boiler
Smaller sizing of heat pump
Boost temperatures
Electrical heater
Electrical heater

## Slide 19: Synergy With natural gas boilers
Smaller/better sizing of heat pump
Boost temperatures
Handle dynamic energy prices
  Low electricity prices
  High electricity prices
HP
Process
El.
Heat.
Gas boiler
Heat.
Notes: Oké resultaten toevoegen SDR.

## Slide 20: context
2010-2020
Derivative products refrigeration technology
2020-2023
Scaling up, research into higher temperatures, and initial demonstrators
2023-2024
Efficiency, materials, steam, EaaS
2025
Rethinking industrial processes, flexibility
2026
Commercialization, demonstration of high temperatures (>200°C)

## Slide 21: Adoption curve
Projected from EHPA data 2025
Copilot

## Slide 22: Decision factors
  Energy cost
    Cost ratio Elek/Gas
    Absolute cost values
  CO2 cost
  Residual heat availability
  Cost heat recuperation
  Combination with cooling
Low
High
High
High
Low
+
Variabel
Positive for HP
Notes: Rekening mee te houden in een haalbaarheidsstudie

## Slide 23: Wat zijn de uitdagingen 2026
  Geen of weinig stimulans
    Beleid EU (ETS-(2))
    CfD, …
    Energiezekerheid
  Elektriciteit versus gasprijs onvoordelig
    Grote variabiliteit!
    Toekomst?
    Situatie Midden-Oosten
  Lage TRL
    Zie tijdslijn hiervoor en demonstrators
  Netcapaciteit onvoldoende
    Opslag
    Verdubbeling investering vanaf 2025 (naar ~0,5% EU-BBP ~ 100 miljard/j) [Eurelectric] [EU defensie: 2022: 1,5%, 2025: 2,1% -> 0,6pp (<->0.25pp)]