## Slide 2: De volgende stap in warmtepompen
Steven Lecompte, Elias Vieren, Kenny Couvreur

## Slide 3: Industrial energy demand in europe
De Boer et al. (2020)
HeatRoadMap (EU 2015)

## Slide 4: Matching cooling (residual heat) and heating
Heat pump technologies
Marina et al. (2021)
Waste heat temperature (°C)
0 20 40 60 80 100 120 140 160 180 200
Demand heat temperature (°C)
0 20 40 60 80 100 120 140 160 180 200
Cumulative Process heat
(PJ\a)
1200
1200
0
0
Cumulative Process heat
(PJ\a)

## Slide 5: Heat pump technologies
Vapour compression heat pump (CAPEX: $$$)
Heat transformer (CAPEX: $$$$)
Electric boiler (CAPEX: $)
Hydrogen boiler (CAPEX: $$)

## Slide 6: MVR and Cascaded systems
Mechanical vapour recompression (MVR)
Vapour compression heat pump + MVR
Atlas Copco

## Slide 7: Possible scenario (IEA)
Additional 500 MW installed capacity each month over the next 30 years!
Net Zero By 2050, IEA

## Slide 8: Sale statistics
Marina et al. (2021)

## Slide 9: What's the market potential?
The Next Half-Trillion-Dollar Market Electrification of Heat [BloombergNEF]
2030
Notes: clean energy transition had broken through the $1 trillion mark in 2022

## Slide 10: Zooming in on applications
Deep Dive Application Potential by C. Arpagaus

## Slide 11: Steam applications: capacity

## Slide 12: Steam applications: cost
Klute et al. 2024

## Slide 13: What’s the catch?
  Unfavorable electricity / fossil-fuel price ratio
    To be competitive: US: $10/MWhe, EU: $24/MWhe [BloombergNEF]
    Large variability!
  Insufficient grid capacity
    Storage solutions
    Projected growth similar as between 1990 and 2007 [Transformation of Europe’s power system until 2050, McKinsey]
  Low technology readiness
    Technology status and perspectives, Jonas Lundstedt Poulsen
  Insubstantial policy incentives

## Slide 14: electricity / fossil-fuel price ratio
Deep Dive Application Potential by C. Arpagaus

## Slide 15: electricity / fossil-fuel price ratio
HTF: Heat transformer
VCHP: Vapour compression heat pump
NGB: Natural gas boiler
EGPR: Electricity to gas price ratio =
WHR: Waste heat ratio
Study considers electric heater when not sufficient waste heat available
Vieren et al. (2023), accepted for International Congress of Refrigeration

## Slide 16: Grid capacity and RE availability
Installed grid-scale battery storage capacity in the Net Zero Scenario
IEA
GW
Powerbarometer 2022

## Slide 17: technology readiness
IEA

## Slide 18: Other Market barriers
Wolf et al (2017, 2020), Deep Dive Application Potential by C. Arpagaus

## Slide 19: POLICY
EU RED III: art. 22:
  Increase alternatives to fossil-fuel based energy use in industry
  End fossil fuel use for processes up to 200°C by 2027
EU EED: Member States shall remove regulatory barriers
  for waste heat utilization and data centers with a total
  rated energy input exceeding 100 kW shall use waste heat
  or waste heat recovery applications
EU EED 2022, art. 23: heating and cooling plans

## Slide 20: conclusion
‘There is a huge potential, but that it requires an immediate, common and interdisciplinary effort to exploit the full potential’

## Slide 21: Steven Lecompte DEPARTMENT OF electromechanical, systems and metal engineering E steven.lecompte@ugent.be T +32 9 264 33 55 M +32 470 04 55 24 www.ugent.be
Ghent University @ugent Ghent University

## Slide 22: Market potential EU
An estimation of the EU industrial heat pump market potential, TNO, 2022

## Slide 23: Global final energy use US

## Slide 25
The decarbonize industry: we must decarbonize heat.
Pathways to decarbonize heat
zero-carbon fuels,
zero-carbon heat sources,
electrification of heat,
better heat management.